## Inst
1 |  | RESPONSIBLE ORGANIZATION |  |  |  | ROTARY LEVEL SWITCH Device Specification | [13 empty] | 6 | SPECIFICATION IDENTIFICATIONS
2 | [19 empty] | 7 | Document no
3 | [19 empty] | 8 | Latest revision |  |  |  | Date
4 | [19 empty] | 9 | Issue status
5 | [19 empty] | 10
11 |  | PROCESS CONNECTION | [13 empty] | 60 |  | PERFORMANCE CHARACTERISTICS
12 |  | Body type | [13 empty] | 61 |  | Max press at design temp | [8 empty] | At
13 |  | Process conn nominal size | [5 empty] | Rating | [7 empty] | 62 |  | Min working temperature | [7 empty] | Max
14 |  | Process conn termn type | [6 empty] | Style | [6 empty] | 63 |  | Min material density
15 |  | Wetted material | [13 empty] | 64 |  | Min ambient working temp | [7 empty] | Max
16 |  | Seal/O ring material | [13 empty] | 65 |  | Contacts ac rating | [5 empty] | At max
17 | [15 empty] | 66 |  | Contacts dc rating | [5 empty] | At max
18 | [15 empty] | 67
19 | [15 empty] | 68
20 |  | SENSING ELEMENT | [13 empty] | 69
21 |  | Sensor type | [13 empty] | 70
22 |  | Nominal size | [13 empty] | 71
23 |  | Shaft coupling type | [13 empty] | 72
24 |  | Shaft guard style | [13 empty] | 73
25 |  | Extension shaft length | [13 empty] | 74
26 |  | Sensor material | [13 empty] | 75
27 |  | Extension/Cable material | [13 empty] | 76
28 |  | Shaft material | [13 empty] | 77
29 | [15 empty] | 78
30 | [15 empty] | 79
31 | [15 empty] | 80
32 |  | SWITCH MECHANISM | [13 empty] | 81
33 |  | Housing type | [13 empty] | 82
34 |  | Motor style | [13 empty] | 83
35 |  | Output signal type | [13 empty] | 84
36 |  | Enclosure type no/class | [13 empty] | 85 |  | ACCESSORIES
37 |  | Signal power source | [13 empty] | 86 |  | Mounting hardware
38 |  | Contacts arrangement | [8 empty] | Qty |  |  |  |  | 87
39 |  | Failsafe style | [13 empty] | 88
40 |  | Integral indicator style | [13 empty] | 89
41 |  | Cert/Approval type | [13 empty] | 90
42 |  | Failure/Diagnostic action | [13 empty] | 91
43 |  | Enclosure material | [13 empty] | 92
44 | [15 empty] | 93 |  | SPECIAL REQUIREMENTS
45 | [15 empty] | 94 |  | Custom tag
46 | [15 empty] | 95 |  | Reference specification
47 | [15 empty] | 96 |  | Compliance standard
48 | [15 empty] | 97
49 | [15 empty] | 98
50 | [15 empty] | 99
51 | [15 empty] | 100 |  | PHYSICAL DATA
52 | [15 empty] | 101 |  | Estimated weight
53 | [15 empty] | 102 |  | Overall height
54 | [15 empty] | 103 |  | Removal clearance
55 | [15 empty] | 104 |  | Signal conn nominal size | [5 empty] | Style
56 | [15 empty] | 105 |  | Mfr reference dwg
57 | [15 empty] | 106
58 | [15 empty] | 107
59 | [15 empty] | 108
110 |  | CALIBRATIONS AND TEST | [10 empty] | INPUT OR SETPOINT | [9 empty] | OUTPUT OR SCALE
111 |  | TAG NO/FUNCTIONAL IDENT |  |  | MEAS/SIGNAL/TEST | [7 empty] | LRV | [5 empty] | URV |  |  | ACTION | LRV |  |  |  | URV
112 |  |  |  |  | Level setpoint-Output
113
114
115
116
117
118 |  | COMPONENT IDENTIFICATIONS
119 |  | COMPONENT TYPE |  | MANUFACTURER | [9 empty] | MODEL NUMBER
120
121
122
123
124
125
Rev | Date |  | Revision Description |  |  |  | By |  |  | Appv1 |  | Appv2 |  |  | Appv3 |  | REMARKS